MOREHOUSE PARISH SCHOOL BOARD

WALKWAY AND LIGHTING SELF INSPECTION

|  |  | Yes | No |
| --- | --- | --- | --- |
| 1. | Stairs, ramps, and walkway surface |  |  |
|  | meets all applicable standards. |  |  |
| 2. | Walkways designed to alert difference |  |  |
|  | in surfaces and height. |  |  |
| 3. | Surface sufficient friction provided? |  |  |
| 4. | Handrails and landing meet codes? |  |  |
| 5. | Stairs and walkways clearly visible? |  |  |
| 6. | Emergency lights checked? |  |  |
| 7. | Walkways clear of obstacles? |  |  |
| 8. | Walkway surfaces maintained to |  |  |
|  | manufacturer’s recommendations? |  |  |
| 9. | Maintenance program followed? |  |  |
| 10. | Walkways meet ADA requirements? |  |  |
| 11. | Walkways free of obstructions? |  |  |
| 12. | Walkway elevations clearly marked? |  |  |
| 13. | Paint speed bumps? |  |  |
| 14. | Stairs properly designed? |  |  |
| 15. | Stair treads stable? |  |  |
| 16. | Outdoor stairs slip resistance? |  |  |
| 17. | Handrails secured? |  |  |
| 18. | Stairs having two or more risers have handrails? |  |  |
| 19. | A contiguous handrail provided? |  |  |
| 20. | Illumination permits clear view of the walking surface? |  |  |
| 21. | Illumination levels should be a minimum of 20 foot-candles. |  |  |
| 22. | Emergency lights in every building? |  |  |
| 23. | Emergency lighting tested? |  |  |
| 24. | Written program documentation? |  |  |
| 25. | Treads should be illuminated by 1 foot-candle. |  |  |
| 26. | Exits marked by an approved illuminated sign? |  |  |
| 27. | Exit readily visible from any direction of exit access? |  |  |
| 28. | Externally illuminated signs shall be illuminated by |  |  |
|  | not less than 5 foot-candles. |  |  |